## Foglio1
40 kV |  |  | 50 kV |  |  | 60 kV |  |  | 70 kV |  |  | 80 kV |  |  | 90 kV |  |  | 100 kV |  |  | 110 kV |  |  | 120 kV |  |  | 130 kV |  |  | 140 kV |  |  | 150 kV
FIT parameters | intercept | -8.7 | FIT parameters | intercept | -11.8 | FIT parameters | intercept | -16.4 | FIT parameters | intercept | -16.7 | FIT parameters | intercept | -19 | FIT parameters | intercept | -23.1 | FIT parameters | intercept | -23.8 | FIT parameters | intercept | -27.8 | FIT parameters | intercept | -28.6 | FIT parameters | intercept | -28.5 | FIT parameters | intercept | -22.9 | FIT parameters | intercept | -42.4
| slope | 1.559 |  | slope | 2.092 |  | slope | 2.472 |  | slope | 2.795 |  | slope | 3.094 |  | slope | 3.391 |  | slope | 3.616 |  | slope | 3.86 |  | slope | 4.076 |  | slope | 4.279 |  | slope | 4.491 |  | slope | 4.766
calibration distance | 50 |  | calibration distance | 50 |  | calibration distance | 50 |  | calibration distance | 50 |  | calibration distance | 50 |  | calibration distance | 50 |  | calibration distance | 50 |  | calibration distance | 50 |  | calibration distance | 50 |  | calibration distance | 50 |  | calibration distance | 50 |  | calibration distance | 50
your distance | 153 |  | your distance | 35 |  | your distance | 35 |  | your distance | 35 |  | your distance | 35 |  | your distance | 35 |  | your distance | 35 |  | your distance | 35 |  | your distance | 153 |  | your distance | 35 |  | your distance | 35 |  | your distance | 153
current tube | dose rate at 50 cm | dose rate at your distance | current tube | dose rate at 50 cm | dose rate at your distance | current tube | dose rate at 50 cm | dose rate at your distance | current tube | dose rate at 50 cm | dose rate at your distance | current tube | dose rate at 50 cm | dose rate at your distance | current tube | dose rate at 50 cm | dose rate at your distance | current tube | dose rate at 50 cm | dose rate at your distance | current tube | dose rate at 50 cm | dose rate at your distance | current tube | dose rate at 50 cm | dose rate at your distance | current tube | dose rate at 50 cm | dose rate at your distance | current tube | dose rate at 50 cm | dose rate at your distance | current tube | dose rate at 50 cm | dose rate at your distance
100 | 147 | 15.6991 | 100 | 197 | 402.0408 | 100 | 230.8 | 471.0204 | 100 | 262.8 | 536.3265 | 100 | 290.4 | 592.6531 | 100 | 316 | 644.898 | 100 | 337.8 | 689.3878 | 100 | 358.2 | 731.0204 | 100 | 379 | 40.4759 | 100 | 399.4 | 815.102 | 100 | 426.2 | 869.7959 | 100 | 434.2 | 46.3711
200 | 303 | 32.3593 | 200 | 406 | 828.5714 | 200 | 478 | 975.5102 | 200 | 542.3 | 1106.7347 | 200 | 599.8 | 1224.0816 | 200 | 655.1 | 1336.9388 | 200 | 699.4 | 1427.3469 | 200 | 744.2 | 1518.7755 | 200 | 786.6 | 84.0062 | 200 | 827.3 | 1688.3673 | 200 | 875.3 | 1786.3265 | 200 | 910.8 | 97.2703
300 | 459 | 49.0196 | 300 | 617 | 1259.1837 | 300 | 725.2 | 1480 | 300 | 821.8 | 1677.1429 | 300 | 909.2 | 1855.5102 | 300 | 994.2 | 2028.9796 | 300 | 1061 | 2165.3061 | 300 | 1130.2 | 2306.5306 | 300 | 1194.2 | 127.5364 | 300 | 1255.2 | 2561.6327 | 300 | 1324.4 | 2702.8571 | 300 | 1387.4 | 148.1695
400 | 616 | 65.7867 | 400 | 826 | 1685.7143 | 400 | 972.4 | 1984.4898 | 400 | 1101.3 | 2247.551 | 400 | 1218.6 | 2486.9388 | 400 | 1333.3 | 2721.0204 | 400 | 1422.6 | 2903.2653 | 400 | 1516.2 | 3094.2857 | 400 | 1601.8 | 171.0667 | 400 | 1683.1 | 3434.898 | 400 | 1773.5 | 3619.3878 | 400 | 1864 | 199.0687
500 | 770 | 82.2333 | 500 | 1033 | 2108.1633 | 500 | 1219.6 | 2488.9796 | 500 | 1380.8 | 2817.9592 | 500 | 1528 | 3118.3673 | 500 | 1672.4 | 3413.0612 | 500 | 1784.2 | 3641.2245 | 500 | 1902.2 | 3882.0408 | 500 | 2009.4 | 214.5969 | 500 | 2111 | 4308.1633 | 500 | 2222.6 | 4535.9184 | 500 | 2340.6 | 249.968
your current ramp | dose rate at 50 cm | dose rate at your distance | your current ramp |  |  | your current ramp |  |  | your current ramp |  |  | your current ramp |  |  | your current ramp |  |  | your current ramp |  |  | your current ramp |  |  | your current ramp |  |  | your current ramp |  |  | your current ramp |  |  | your current ramp
25 | 30.275 | 3.2333 | 15 | 19.58 | 39.9592 | 15 | 20.68 | 42.2041 | 15 | 25.225 | 51.4796 | 15 | 27.41 | 55.9388 | 15 | 27.765 | 56.6633 | 15 | 30.44 | 62.1224 | 15 | 30.1 | 61.4286 | 15 | 32.54 | 3.4752 | 15 | 35.685 | 72.8265 | 15 | 44.465 | 90.7449 | 10 | 5.26 | 0.56175

## calibrazione_con_errori
40 kV |  |  | errors | 50 kV |  |  | 60 kV |  |  | 70 kV |  |  | 80 kV |  |  | 90 kV |  |  | 100 kV |  |  | 110 kV |  |  | 120 kV |  |  | 130 kV |  |  | 140 kV |  |  | 150 kV |  |  | errors
FIT parameters | intercept | 0 | 0 | FIT parameters | intercept | -11.8 | FIT parameters | intercept | -16.4 | FIT parameters | intercept | -16.7 | FIT parameters | intercept | -19 | FIT parameters | intercept | -23.1 | FIT parameters | intercept | -23.8 | FIT parameters | intercept | -27.8 | FIT parameters | intercept | -28.6 | FIT parameters | intercept | -28.5 | FIT parameters | intercept | -22.9 | FIT parameters | intercept | 0 | 0
| slope | 1.5353 | 0.0056 |  | slope | 2.092 |  | slope | 2.472 |  | slope | 2.795 |  | slope | 3.094 |  | slope | 3.391 |  | slope | 3.616 |  | slope | 3.86 |  | slope | 4.076 |  | slope | 4.279 |  | slope | 4.491 |  | slope | 4.65 | 0.028
calibration distance | 50 |  | 0.5 | calibration distance | 50 |  | calibration distance | 50 |  | calibration distance | 50 |  | calibration distance | 50 |  | calibration distance | 50 |  | calibration distance | 50 |  | calibration distance | 50 |  | calibration distance | 50 |  | calibration distance | 50 |  | calibration distance | 50 |  | calibration distance | 50 |  | 0.5
your distance | 30 |  | 0.5 | your distance | 55 |  | your distance | 20 |  | your distance | 35 |  | your distance | 35 |  | your distance | 35 |  | your distance | 40 |  | your distance | 35 |  | your distance | 153 |  | your distance | 35 |  | your distance | 35 |  | your distance | 15 |  | 0.5
current tube | dose rate at 50 cm | dose rate at your distance |  | current tube | dose rate at 50 cm | dose rate at your distance | current tube | dose rate at 50 cm | dose rate at your distance | current tube | dose rate at 50 cm | dose rate at your distance | current tube | dose rate at 50 cm | dose rate at your distance | current tube | dose rate at 50 cm | dose rate at your distance | current tube | dose rate at 50 cm | dose rate at your distance | current tube | dose rate at 50 cm | dose rate at your distance | current tube | dose rate at 50 cm | dose rate at your distance | current tube | dose rate at 50 cm | dose rate at your distance | current tube | dose rate at 50 cm | dose rate at your distance | current tube | dose rate at 50 cm | dose rate at your distance
100 | 147 | 408.3333 | 11.224 | 100 | 197 | 162.8099 | 100 | 230.8 | 1442.5 | 100 | 262.8 | 536.3265 | 100 | 290.4 | 592.6531 | 100 | 316 | 644.898 | 100 | 337.8 | 527.8125 | 100 | 358.2 | 731.0204 | 100 | 379 | 40.4759 | 100 | 399.4 | 815.102 | 100 | 426.2 | 869.7959 | 100 | 465 | 5166.6667 | 254.2831
200 | 303 | 841.6667 | 23.1352 | 200 | 406 | 335.5372 | 200 | 478 | 2987.5 | 200 | 542.3 | 1106.7347 | 200 | 599.8 | 1224.0816 | 200 | 655.1 | 1336.9388 | 200 | 699.4 | 1092.8125 | 200 | 744.2 | 1518.7755 | 200 | 786.6 | 84.0062 | 200 | 827.3 | 1688.3673 | 200 | 875.3 | 1786.3265 | 200 | 930 | 10333.3333 | 508.5661
300 | 459 | 1275 | 35.0464 | 300 | 617 | 509.9174 | 300 | 725.2 | 4532.5 | 300 | 821.8 | 1677.1429 | 300 | 909.2 | 1855.5102 | 300 | 994.2 | 2028.9796 | 300 | 1061 | 1657.8125 | 300 | 1130.2 | 2306.5306 | 300 | 1194.2 | 127.5364 | 300 | 1255.2 | 2561.6327 | 300 | 1324.4 | 2702.8571 | 300 | 1395 | 15500 | 762.8492
400 | 616 | 1711.1111 | 47.0339 | 400 | 826 | 682.6446 | 400 | 972.4 | 6077.5 | 400 | 1101.3 | 2247.551 | 400 | 1218.6 | 2486.9388 | 400 | 1333.3 | 2721.0204 | 400 | 1422.6 | 2222.8125 | 400 | 1516.2 | 3094.2857 | 400 | 1601.8 | 171.0667 | 400 | 1683.1 | 3434.898 | 400 | 1773.5 | 3619.3878 | 400 | 1860 | 20666.6667 | 1017.1323
500 | 770 | 2138.8889 | 58.7924 | 500 | 1033 | 853.719 | 500 | 1219.6 | 7622.5 | 500 | 1380.8 | 2817.9592 | 500 | 1528 | 3118.3673 | 500 | 1672.4 | 3413.0612 | 500 | 1784.2 | 2787.8125 | 500 | 1902.2 | 3882.0408 | 500 | 2009.4 | 214.5969 | 500 | 2111 | 4308.1633 | 500 | 2222.6 | 4535.9184 | 500 | 2325 | 25833.3333 | 1271.4153
your current ramp | dose rate at 50 cm | dose rate at your distance |  | your current ramp |  |  | your current ramp |  |  | your current ramp |  |  | your current ramp |  |  | your current ramp |  |  | your current ramp |  |  | your current ramp |  |  | your current ramp |  |  | your current ramp |  |  | your current ramp |  |  | your current ramp
500 | 767.65 | 2132.3611 | 1706.8955 | 20 | 30.04 | 24.8264 | 395 | 960.04 | 6000.25 | 15 | 25.225 | 51.4796 | 15 | 27.41 | 55.9388 | 15 | 27.765 | 56.6633 | 450 | 1603.4 | 2505.3125 | 15 | 30.1 | 61.4286 | 15 | 32.54 | 3.4752 | 15 | 35.685 | 72.8265 | 15 | 44.465 | 90.7449 | 100 | 465 | 5166.6667 | 145.3858
400 | 614.12 | 1705.8889 | [32 empty] | 2.8
300 | 460.59 | 1279.4167
200 | 307.06 | 852.9444
100 | 153.53 | 426.4722
| 0 | 0
| 0 | 0
| 0 | 0 | [17 empty] | time | total dose
| 0 | 0 | [17 empty] | 10 | 25053.125
at 15.5. cm
Dose tot (uGy) | 100 uA (1.530 mGy/s) | 200 uA (3.153 mGy/s) | 300 uA (4.776 mGy/s) | 400 uA (6.41 mGy/s) | 500 uA (8.012 mGy/s)
time (s)
10000 | 24.4898 | 11.8812 | 7.8431 | 5.8442 | 4.6753
20000 | 48.9796 | 23.7624 | 15.6863 | 11.6883 | 9.3506
50000 | 122.449 | 59.4059 | 39.2157 | 29.2208 | 23.3766
70000 | 171.4286 | 83.1683 | 54.902 | 40.9091 | 32.7273
100000 | 244.898 | 118.8119 | 78.4314 | 58.4416 | 46.7532
Dose tot (uGy) | 500 uA
| 15.5 cm (8.012 mGy/s) | 20 cm (4.813 mGy/s) | 30 cm (2.139 mGy/s) | 40 cm (1.203 mGy/s) | 50 cm (0.77 mGy/s)
time (s)
10000 | 1.2481 | 2.0779 | 4.6753 | 8.3117 | 12.987
20000 | 2.4961 | 4.1558 | 9.3506 | 16.6234 | 25.974
50000 | 6.2403 | 10.3896 | 23.3766 | 41.5584 | 64.9351
70000 | 8.7364 | 14.5455 | 32.7273 | 58.1818 | 90.9091
100000 | 12.4805 | 20.7792 | 46.7532 | 83.1169 | 129.8701